Fumigation-Extraction

- Weigh 5g wet soil into 250 ml Erlenmeyer flasks.

- Prime Chloroform pump into 50 ml flask to get air out of lines

- Place flasks in hood; add 2 ml of Chloroform using reagent pump (already set to 2 ml), stopper immediately and tightly, and thoroughly shake each stoppered flask. For the blanks add chloroform to 2-3 empty flasks and treat as above.

- Allow to sit for 24 hours.

- Remove stopper and allow to vent in the hood for 30 minutes.

- Add 25 ml of 0.5m K2SO4 to each flask.

- Place flasks in box with padding for shaking.  Shake for 1 hour.

- While shaking, set up extraction apparatus with filters and pump.

- Using forceps, place filters in each of the filter tops. NEVER touch the filters with bare fingers

- Get a new 50 ml centrifuge tube; place a 20 ml tube within the centrifuge tube.

- Screw the filter top on the 50 ml tube and connect hose to the filter top.

- Assuring all valves are closed start the pump once the shaking is complete.

- Turn on the vacuum pump. Open the first valve, remove label from the specimen and place on the centrifuge tube that the filter top is screwed into, pour the specimen through the filter.

- Repeat at the following position on the vacuum manifold. Turn the valve to the closed position on all the samples that are done filtering.

- Turn off vacuum pump.

- Remove filter apparatus from pump hose, unscrew the cap and pull 20 ml tube from 50 ml tube, pour off excess to 17 ml.

- Move the label to the 20 ml tube, and place HORIZONTALLY (tubes will explode if you freeze them oriented vertically) in freezer in a bag.